Instructions

Coverslipsforsticky–Slides

Coverslipsforsticky–Slidesarepolymerorglasscoverslipsthatcanbemountedtoallibidisticky–

Slides.Theyhavebeendesignedforhigh–endmicroscopicanalysiswithuncompromisedresolution

andchoiceofwavelength.

Material

OpticalPropertiesibidiGlassBottom

RefractiveindexnD

Abbenumber

1.523

55

TheCoverslipsforsticky–Slidesareavailableintwodif-

ferentversions.

Thickness

No.1.5H(selectedquality

170µm,±5µm)

PolymerCoverslips

Material

Schottborosilicateglass,

D263M

The polymer coverslips 10813 and 10814 (ibidi Standard

Bottom) are not autoclavable since they are temperature

stableonlyupto80°C/175°F.Theycanbesterilizedwith

alcoholorUV-light.

Attention!

Be cautious when handling µ–Slides and µ–Dishes

with glass bottom! The glass coverslip is very frag-

ileandmightbreakeasily.  Handlewithcaretoavoid

physicalinjuryanddamagetodevicesthroughleak-

ageofthemedium.

OpticalPropertiesibidiStandardBottom

RefractiveindexnD(589nm)

Abbenumber

1.52

56

Thickness

No.1.5(180µm)

Material

microscopyplastic/

polymercoverslip

Surfaces

Please note! The ibidi Standard Bottom is compatible

withcertaintypesofimmersionoilonly.    Alistofsuit-

ableoilscanbefoundonpage2.

Ifyoudonotrequireanyspecialadhesionmoleculesfor

your application, the best choice will be ibiTreat, a tis-

sue culture treated surface. The uncoated polymer cov-

erslips are manufactured from hydrophobic plastic. For

thecultivationofmostcelllines,itisindispensabletotreat

themwithbiopolymers,whichmediatecelladhesionand

growth.

Attention!

Thepolymercoverslip(ibidiStandardBottom)ispro-

tectedbyaturbidprotectionfoil.Priortouse,remove

theprotectionfoilbyusingpointytweezers.    Dueto

production process the exposed side is ibiTreat (for

product10814)oruncoated(forproduct10813).    The

protectedsideisuncoatedalways.

Geometry

GeometryoftheCoverslipsforsticky–Slides

Dimensions

25mm×75mm

170µm±5µm

ThicknessGlassBottom

ThicknessibidiStandardBottom   180µm

GlassCoverslips

Glass coverslips 10812 are manufactured from uncoated

borosilicate glass. Washing steps (e.g. with PBS) before

cellseedingcanremoveglassdustwhichisadvantageous

fordirectcellgrowthonthesurface.    Theglasscoverslips

canbesterilizedwithalcohol,UV-lightorbyautoclaving.

Coverslipsforsticky–Slides

Page1

Version2015-06-10

Instructions

Coverslipsforsticky–Slides

ImmersionOil

Company

Product

OrderingNumber

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

OrderingInformation

TheCoverslipsforsticky–Slidesareavailableinpolymerandglassversions.

Cat.No.

Description

Pcs./Box

10812

Coverslips for sticky-Slides:: # 1.5H (170µm ±5µm) D 263 M Schott glass , 25 mm × 75 mm,

unsterile

100

100

100

10813

10814

Coverslipsforsticky-SlidesUncoated::  #1.5polymercoverslip,hydrophobic,25mm×75mm,

unsterile

Coverslipsforsticky-SlidesibiTreat::  #1.5polymercoverslip,   hydrophobic, 25mm×75mm,

unsterile

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

Coverslipsforsticky–Slides

Page2

Version2015-06-10