Instructions

sticky–Slide8well

www.ibidi.com

The sticky–Slide family allows you to perform cell culture experiments with custom–

speciﬁcbottommaterialslikeplasticsheets,glassslides,spottedcoverslips,printedcir-

cuitboards,etc.  Theselfadhesive(”sticky”)undersideofthebottomlessblankslideis

easilyadaptedtoyourspeciﬁcsubstratebypressingonbyhand.

sticky–Slide8wellprovidesacommonopenwellformatwhichisbestsuitedformaxi-

mumsampleaccessinawidevarietyofexperimentalapplications.

Material

• Optionally for channel sticky–Slides, place your

sampleintothechannel.

The slide material of sticky–Slides is identical to com-

monµ–Slides(uncoated).  TheSlidesarenotautoclavable

sincetheyaretemperaturestableupto60°C/140°Fonly.

All sticky–Slides are delivered sterile and single packed.

Pleasekeepinmindthatsterilityislostwhennon–sterile

substratesareused.

Thestickybottomitselfisa50µmbiocompatibledouble–

facedadhesivetape.  Thetapeiscoveredbyaprotection

ﬁlmwhichhastoberemovedbeforeusage.

• Mountbottomandsticky–Slidewithsomepressure.

Presswelluntilthebottomissealed.

• Incubateat20-40°Cforbestresults.

• Conductyourexperiment.

The adhesive strength strongly depends on temperature

andtime. Bestresultsareachievedbystoringtheassem-

bledSlidesovernightat20-40°C.Anyhow,    sticky–Slides

arenotleakyimmediatelyafterassembling.

sticky–Slidescan beremovedfrom  thesubstrateby  dip-

pingthemintoAcetoneovernightinanappropriateglass

container(e.g.abeaker).PleasekeepinmindthatAcetone

mightbeharmfultoyourusedsubstrate.    Onceremoved

sticky–Slidescannotbereused.

Geometry

All technical details beside bottom material are identical

toµ–Slide8well.   TheSlidesprovidestandardslidefor-

mataccordingtoISO8037/1.

Geometryofsticky–Slide8well

Surfacecompatibility

Numberofwells

8

Dimensionmm      of wells (w×l×h)  in  9.4×10.7×6.8

sticky–Slidesarecompatiblewithallﬂat,clean,dust–free,

fat–freesurfaceslikeglass,plastic,metal,siliciumorelec-

trodestructures. sticky–Slidescanbeassembledwithwet

surfaces(protein–free,aqueoussolutionslikewaterorPBS

buffer). Dusty or fatty surfaces like wax foils or similar

surfacesarenotcompatible.  Pleasetestyourspeciﬁcsur-

faceinyourlabwithfreesamplesfrom

Recommendedvolumeperwell

Totalheightwithlid

Growthareaperwell

Bottom

300µl

8mm

1.0cm2

none

Bestresultsareachievedwhenﬂexiblesubstrateslikeplas-

ticsheetsorcoverslipsareused.Rigidglassslidesormetal

surfacesarealsopossibletousebutneedmorepressureto

seal.

Seedingcells

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,applicationofa4–9×104cells/ml

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

HandlingandAssembling

• Apply 300 µl cell suspension into each well of the

Slide.Avoidshakingasthiswillresultininhomoge-

neousdistributionofthecells.

• Prepareyoursampleand/orbottommaterial.

• Removetheprotectionﬁlmbyusingsteriletweezers.

sticky–Slide8well

Page1

Version2012-05-04

Instructions

sticky–Slide8well

www.ibidi.com

• Coverreservoirswiththesuppliedlid.    Incubateat

37°Cand5%CO2asusual.

Undemanding cells can be left in their seeding medium

foruptothreedaysandgrowtoconﬂuencethere.     How-

ever, best results might be achieved when the medium

is changed every 1–2 days. Carefully aspirate the old

mediumandreplaceitby300µl/wellfreshmedium.

ImmersionOil

Immersion oil compatibility depends on the used sub-

strate.

Applications

sticky–Slide 8 well provides a common open well for-

matwhichisbestsuitedformaximumsampleaccess,e.g.

whencellshavetobeseededontoatitaniumimplantma-

terial.

SolventsforFixation,StainingandOtherPur-

poses

Thestickybottommaterialandtheslidematerialarecom-

patibletoMethanol,  acids, alkalis, PFA,DMSO,andsili-

coneoil.Pleasekeepinmindthatthesesubstancesmaybe

harmfultotheusedsubstrate.   Acetoneisnotcompatible

withthestickymaterialsoitcanbeusedtodetachslide

andsubstrateafteruse.

sticky–Slide8well

Page2

Version2012-05-04

Instructions

sticky–Slide8well

www.ibidi.com

sticky–Slidefamily

Thesticky–Slidetechnologyisavailablewithdifferentslideformats.Pleaseseetablebelowforchoosingyoursticky–Slide.

Productname

Orderingnumber  Basedonµ–Slideformat

Characteristics

sticky–Slide8well

sticky–SlideVI0.4

80828

80328

80608

81128

80168

80178

80188

80198

10812

µ–Slide8well

µ–SlideVI0.4

8openwells(volume300µl)

channelslide(height400µm)

forchemotaxisexperiments

channelslide(height100µm)

channelslide(height200µm)

channelslide(height400µm)

channelslide(height600µm)

channelslide(height800µm)

25.0mm×75.0mm,No.1.5

(selectedquality,170µm±10µm)

sticky–SlideChemotaxis3D

sticky–SlideI0.1Luer

sticky–SlideI0.2Luer

sticky–SlideI0.4Luer

sticky–SlideI0.6Luer

sticky–SlideI0.8Luer

µ–SlideChemotaxis3D

µ–SlideI0.1Luer

µ–SlideI0.2Luer

µ–SlideI0.4Luer

µ–SlideI0.6Luer

µ–SlideI0.8Luer

glasscoverslips,unsterile

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye–mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

sticky–Slide8well

Page3

Version2012-05-04