Instructions

µ–SlideI

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveallbeen

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.Thehighopticalqualityofthe

materialissimilartothatofglass,soyoucanperformallkindsofﬂuorescenceexperimentswith

uncompromisedresolutionandchoiceofwavelength.   Theµ-SlideIcombinesthefeaturesofa

cellculturedishwiththoseofaglasscoverslip.     Oneﬂowthroughobservationchannelisinte-

gratedintheµ-Slide.Itslargeobservationareaandhigh-endopticalqualitypermitsconvenient

monitoringofavastvarietyofcellularassays.

Material

Geometryoftheµ–SlideI

ibidiµ–Slides,µ–Dishes,andµ–Platesaremadeofaplas-

tic that has the highest optical quality. The bottom ma-

terial exhibits extremely low birefringence and autoﬂuo-

rescence, similar to that of glass. Also, it is not possible

todetachthebottomfromtheupperpart.     Theµ–Slides,

µ–Dishes, and µ–Plates are not autoclavable, since they

areonlytemperature–stableupto80°C/175°F.Pleasenote

that gas exchange between the medium and incubator’s

atmosphere occurs partially through the plastic bottom,

whichshouldnotbecovered.

Theµ–SlideIprovidesastandardslideformataccording

toISO8037/1.

Geometryoftheµ–SlideI

NumberofChannels

Channelvolume

1

100µl

50mm

5.0mm

0.4mm

Channellength

Channelwidth

Channelheight

OpticalPropertiesibidiStandardBottom

Volumeperreservoir

Growtharea

600µl

2.5cm2perchannel

5.4cm2perchannel

No.1.5

RefractiveindexnD(589nm)

Abbenumber

1.52

Coatingareausing100µl

Bottommatchescoverslip

56

Thickness

No.1.5(180µm)

microscopyplastic

Material

Coatingyourµ–SlideI

Please note! The ibidi standard bottom is compatible

withcertaintypesofimmersionoilonly.    Alistofsuit-

ableoilscanbefoundonpage2.

Theuncoatedµ–Slidemustbecoatedtopromotecellad-

hesion.Ifyouwanttoestablishacertaincoatingtomatch

your needs, we recommend testing your coating proce-

dure on both uncoated and ibiTreat µ–Slides, since we

haveobservedthatsomebiomoleculesadheredifferently

tohydrophobicandhydrophilicplasticsurfaces.

µ–SlideSurfaces

Dependingonthetypeofcellsandthespecialapplication

youareusing,youwillneedµ–Slideswithdifferentsur-

faces.Ifyoudonotrequireanyspecialadhesionmolecules

foryourapplication,thebestchoicewillbeibiTreat,atis-

sueculturetreatedsurface.

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.

• Apply100µlperchannelandleaveatroomtemper-

atureforatleast30minutes.

• Aspirate the solution and wash with the recom-

mended protein dilution buffer. You can add the

bufferintoonechannelendandsimultaneouslyas-

pirateitontheotherside.

Weprovideprecoatedµ–Slideswithadhesionsubstrates

likeCollagenIV,Fibronectin,Poly–L–Lysin,andPoly–D–

Lysin.Suchadhesionsubstrateshavebeenshowntostim-

ulatetheadhesionandgrowthofvariouscelllinesinµ–

Slides.Onlyhigh–qualitysubstratesareused1.

• Optionally,letdryatroomtemperature.   Attention,

somecoatingproteinsmightdegeneratewhendry-

ing!

Theuncoatedµ–Slideismanufacturedfromhydrophobic

plastic. For the cultivation of most cell lines, it is indis-

pensabletotreattheuncoatedµ–Slidewithbiopolymers,

whichmediatecelladhesionandgrowth.

Furtherinformationaboutcoatingsisprovidedin

1CollagenIV:Corning#356233,Fibronectin:Corning#354008,Poly–L–Lysin:Sigma#P4832,Poly–D–Lysin:Corning#354210

µ–SlideI

Page1

Version2014-05-13

Instructions

µ–SlideI

SeedingCells

ExchangingMedium

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,applicationofa3–7×105cells/ml

Aspirate both reservoirs and ﬁll slowly 1.2 ml of fresh

mediumintooneofthereservoirs,whichwillreplacethe

channelvolumebygravityﬂow.

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

PreparationforCellMicroscopy

• Apply100µlcellsuspensionintothechannelofthe

µ–Slide.Quickdispensinghelpstoavoidtrappedair

bubbles.

To analyze your cells, no special preparations are neces-

sary.Cellscanbeobservedlive,orﬁxeddirectlyintheµ–

Slideonaninvertedmicroscope.  Youcanuseanyﬁxative

ofyourchoice.  Theµ–Slidematerialiscompatiblewitha

varietyofchemicals(e.g.,AcetoneorMethanol).    Further

speciﬁcationscanbefoundatDuetothe

thinbottomofonly180µm,highresolutionmicroscopyis

possible.

• Coverreservoirslooselywiththesuppliedcaps.   In-

cubateat37°Cand5%CO2asusual.

• Aftercellattachmentﬁll600µlcellfreemediuminto

eachreservoir.

Tip:

ImmersionOil

Thedaybeforeseedingthecellswerecommendplac-

ingthecellmediumandtheµ–Slideintotheincubator

forequilibration. Thiswillpreventtheliquidinside

thechannelfromemergingairbubblesovertheincu-

bationtime.

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

Trappedbubblescanberemovedfromthechannelby

incliningtheµ–Slideandknockingatoneedge.

Furtherinformationisprovidedin

Company

Product

OrderingNumber

ibidi

Zeiss

Zeiss

Leica

ImmersionOil

(ibidi)50101

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

Forﬂowapplicationswerecommendusingµ–SlideILuer

orµ–SlideVI0.4.

µ–SlideI

Page2

Version2014-05-13

Instructions

µ–SlideI

µ–SlideIFamily

Theµ–SlideIfamilyisavailablewithdifferentsurfaces.Seetablebelowforchoosingyourµ–SlideI.

OrderingNumber

TreatmentorCoating

Characteristics

80106

ibiTreat,tissueculturetreated,sterile

hydrophilic,tissueculturetreated

proteincoating

80101

CollagenIV,sterile

80102

Fibronectin,sterile∗

proteincoating

80110

Poly–L–Lysine,sterile

Poly–D–Lysine,sterile∗

uncoated,sterile

biopolymercoating

biopolymercoating

hydrophobic

80115

80111

∗availableonrequestonly.

µ–SlideI

Page3

Version2014-05-13

Instructions

µ–SlideI

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–SlideI

Page4

Version2014-05-13